K6-Semiconductor alcohol tester

Product Specification (Model: )

Product Information

| Appearance Name | K6B |
| --- | --- |
| Series Model |  |
| Features | High cost performance, high sensitivity in low temperature environments, and sensor with preheating function |

Six Views

Function Diagram

Alcohol Test Basic Parameters

| Warning lamp shade color | Available in red, blue or white |
| --- | --- |
| Body color | black |
| product name | Breath alcohol tester |
| display screen | 1.44 Inch 128*128 full-color TFT LCD screen |
| power supply | 18650-2000mAh lithium battery (built-in battery) |
| charging voltage | 5V1A |
| operating temperature | -5℃~45℃ |
| Continuous measurement time | 5 seconds to 15 seconds |
| value out time | 3 seconds |
| Voice broadcast (language) | Chinese/English |
| sampling mode | Blow sensing or manual detection |
| using the sensor | semiconductor gas sensor |
| Measurement range of alcohol concentration in breath | 0~400mg/100mL |
| accessibility | LED highlight white light lighting, high-decibel whistle, red and blue warning lights, voice playback |
| operation mode | 4 buttons to operate warning lights, police whistles and lights |
| Sensitivity/Resolution | 5mg/100mL/ 1mg/100mL |
| Product size | 310*40.5*40.4mm |
| product Weight | Approximately 172g |
| indication error | ±10mg/100 ml at a concentration of 50mg/100 ml at a distance of 5cm |

Packing Information

| Box gauge: length × width × height mm | 38×28×36 CM |
| --- | --- |
| Number of boxes: | 20 PCS/box |
| Weight of the whole box: | 8.4KG Gross weight 8.95KG |
| Package: L × W × H mm | 340×85×50 MM |
| Net weight of packaging box: | 248 g |
| Machine net weight: | 175g |
| Weight of outer packaging box: | 1/KG |

Generated At: 2026-08-21 00:44:00 | Specification Version: K6-Semiconductor alcohol tester